## Table 1
Nama Produk | Nomor Kit | Klasifikasi Lingkungan | Tipe Aplikasi | Rating Tegangan | Ukuran Konduktor | Material/Teknologi | Sumber
3M™ Cold Shrink QT-III Silicone Rubber Indoor Terminations | 7620-T-95 | Indoor | Tape Shield, Wire Shield, UniShield® Cable | 5 kV, 8 kV | 8–4 AWG (5 kV), 8–6 AWG (8 kV) | Cold Shrink | 1
3M™ Cold Shrink QT-III Silicone Rubber Indoor Terminations | 7621-T-95 | Indoor | Tape Shield, Wire Shield, UniShield® Cable | 5 kV, 8 kV | 2–3/0 AWG (5 kV), 4–2/0 AWG (8 kV) | Cold Shrink | 1
3M™ Cold Shrink QT-III Silicone Rubber Indoor Terminations | 7693-T-150 | Indoor | Tape Shield, Wire Shield, UniShield® Cable | 5 kV, 8 kV, 15 kV, 25/28 kV, 35 kV | 300–500 kcmil (5/8 kV), 2/0–300 kcmil (15 kV), 2–4/0 AWG (25/28 kV), 2–2/0 AWG (35 kV) | Cold Shrink | 1
3M™ Cold Shrink QT-III Silicone Rubber Indoor Terminations | 7642-T-110 | Indoor | Concentric and Jacketed Concentric Neutral Cable | 5 kV, 8 kV, 15 kV | 4/0 AWG–400 kcmil (5 kV), 3/0–300 kcmil (8 kV), 2–2/0 AWG (15 kV) | Cold Shrink | 1
3M™ Cold Shrink QT-III Indoor Termination Kit 7600-T-3G Series | 7620-T-95-3G | Indoor | Three Core, Tape Shield, Wire Shield, UniShield® | 5 kV, 8 kV | 8–2 AWG (5 kV), 6–4 AWG (8 kV) | Cold Shrink | 1
3M Cold Shrink Termination QT-II (Hybrid 3 Core) | QT-II (J) 4S-32H | Indoor | Three Core | 15-24 kV | 35-95 mm $^2$ | Cold Shrink | 2
3M Cold Shrink Termination QT-II dengan Shearbolt | QT-II (J) 4S-32S | Indoor | Three Core | 15-24 kV | 35-95 mm $^2$ | Cold Shrink | 2
3M Three Conductor Cable 7600 Series | 7600-T-3G | Indoor | Three Core (Tubular) | 5-35 kV | Tidak disebutkan di sumber | Cold Shrink | 2
3M™ Cold Shrink QT-III Silicone Rubber Outdoor Terminations | 7620-S-2 | Outdoor | Tape Shield, Wire Shield, UniShield® Cable | 5 kV, 8 kV | 8–4 AWG (5 kV), 8–6 AWG (8 kV) | Cold Shrink | 1
3M™ Cold Shrink QT-III Silicone Rubber Outdoor Terminations | 7683-S-8 | Outdoor | Tape Shield, Wire Shield, UniShield® Cable | 5 kV, 8 kV, 15 kV, 25/28 kV, 35 kV | 300–500 kcmil (5/8 kV), 2/0–300 kcmil (15 kV), 2–4/0 AWG (25/28 kV), 2–2/0 AWG (35 kV) | Cold Shrink | 1
3M™ Cold Shrink QT-III Inverted Outdoor Terminations | 7642-S-INV-2 | Outdoor | Inverted Kits for Concentric Neutral Cable | 5 kV, 8 kV, 15 kV | 4/0 AWG–400 kcmil (5 kV), 3/0–300 kcmil (8 kV), 2–4/0 AWG (15 kV) | Cold Shrink | 1
3M™ Cold Shrink QT-III Outdoor Termination Kit 7600-S-3G Series | 7620-S-2-3G | Outdoor | Three Core, Tape Shield, Wire Shield, UniShield® | 5 kV, 8 kV | 8–2 AWG (5 kV), 6–4 AWG (8 kV) | Cold Shrink | 1
3M Cold Shrink Termination QT-II (Hybrid 3 Core) | QT-II (J) 6S-32H | Outdoor | Three Core | 15-24 kV | 35-95 mm $^2$ | Cold Shrink | 2
3M Cold Shrink Termination QT-II dengan Shearbolt | QT-II (J) 6S-12S | Outdoor | Single Core | 15-24 kV | 35-150 mm $^2$ | Cold Shrink | 2
3M Three Conductor Cable 7600 Series | 7600-S-3G | Outdoor | Three Core (Skirted) | 5-35 kV | Tidak disebutkan di sumber | Cold Shrink | 2
3M Outdoor Cable Termination (Polymer) | TS 170-300 | Outdoor | Single Core | 150 kV | 300 mm $^2$ | Silicon Cair (Epoxy Bushing) | 2
3M Outdoor Cable Termination (Porcelain) | TP 170-300 | Outdoor | Single Core | 150 kV | 300 mm $^2$ | Porcelain | 2
3M™ Cold Shrink QS-III Inline CN/JCN Cable Splice Kits | 5467A | Indoor, Outdoor, Tanam Langsung (Direct Bury) | Single Core / Jacketed Concentric Neutral (JCN), Concentric Neutral (CN) | 35 kV | 1/0 AWG–350 kcmil | Cold Shrink | 3, 4
3M™ Scotchcast™ Inline Resin Power Cable Splice Kits 82-A Series | 82-A1 | Outdoor, Tanam Langsung (Direct Bury) | Single Conductor (5 kV) / Multiple Conductor (1 kV) | 5 kV | 18-2 AWG | Resin | 3
3M™ Scotchcast™ Flexible Power Cable Inline Splicing Kits 82-F Series | 82-F1 | Outdoor, Tanam Langsung (Direct Bury) | Non-Shielded Portable Power Cable / Single Core | 5 kV | 6-1/0 AWG | Resin | 3
Southwire AL09ET Type MV-105 or MC Cable | AL09ET | Outdoor, Tanam Langsung (Direct Bury) | Three Core, Tape Shield, Aluminum Armor | 5 kV, 8 kV | Tidak disebutkan di sumber | EPR Insulation / PVC Jacket | 1
3M™ Splice Kit UF untuk kabel feeder bawah tanah flat | UF1 | Tanam Langsung (Direct Bury) | Single Conductor / Non-Shielded | 0.6 kV | 14–8 AWG | Heat Shrink | 3
3M™ Heat Shrink Heavy-Wall Cable Sleeves ITCSN | ITCSN-0400 | Indoor, Outdoor, Tanam Langsung (Direct Bury) | Single Conductor | 1 kV | 12-6 AWG | Heat Shrink | 3
3M™ Direct Bury Splice Kit DBO/B-6 | DBO/B-6 | Tanam Langsung (Direct Bury) | Wire Combinations (CU) | 0.6 kV | 18–10 AWG | Resin/Grease Filled Tube | 3
3M™ Scotchcast™ Inline Splice Kits, 72-N Series | 72-N1 sampai 72-N6 | Tanam Langsung (Direct Bury) | Multiple Conductors / Signal & Control Cable | 1 kV | 22 AWG - 10 AWG | Resin | 3
3M™ Cold Shrink Connector Insulators 8420 Series | 8423-6 | Indoor, Outdoor, Tanam Langsung (Direct Bury) | Single Conductor / Solid Dielectric | 1 kV | 6-4 AWG | Cold Shrink | 3
3M™ Cold Shrink Connector Insulator WF Series | WF100 | Indoor, Outdoor, Tanam Langsung (Direct Bury) | Single Conductor / Lug Connection | 2 kV | 4-2 AWG | Cold Shrink | 3
3M™ Inline Splices for Armored Power Cable (Teck-90) | 5732 | Indoor, Outdoor, Aerial, Tanam Langsung (Direct Bury) | Three Core (3/C) | 1 kV | 2-1/0 AWG | Cold Shrink | 3
3M™ Cold Shrink QS-III Inline Shielded Cable Splice Kits | 5513A | Indoor, Outdoor, Tanam Langsung (Direct Bury) | Single Core / Tape, Wire, UniShield, LC Shield | 15 kV | 2-4/0 AWG | Cold Shrink | 3
3M Scotchcast Jointing Resin lurus (Multi core) | 82-A1-IN | Indoor, Outdoor, Tanam Langsung (Direct Bury) | Multi Core | 1 kV | Hingga 30 mm $^2$ (sampai 2 AWG) | Resin | 2
3M Scotchcast Jointing Resin lurus (Multi core) | 82-A2-IN | Indoor, Outdoor, Tanam Langsung (Direct Bury) | Multi Core | 1 kV | 35-95 mm $^2$ (2-3/0 AWG) | Resin | 2
3M Scotchcast Jointing Resin lurus (Multi core) | 82-A3-IN | Indoor, Outdoor, Tanam Langsung (Direct Bury) | Multi Core | 1 kV | 95-200 mm $^2$ (3/0-400 kcmil) | Resin | 2
Jointing Resin Scotchcast for multicore cable | 92-A1 | Indoor, Outdoor, Tanam Langsung (Direct Bury) | Multi Core | 0.6/1 kV | Hingga 10 mm $^2$ | Resin | 2
Jointing Resin Scotchcast for multicore cable | 92-A2 | Indoor, Outdoor, Tanam Langsung (Direct Bury) | Multi Core | 0.6/1 kV | 16-25 mm $^2$ | Resin | 2
Jointing Resin Scotchcast for multicore cable | 92-A3 | Indoor, Outdoor, Tanam Langsung (Direct Bury) | Multi Core | 0.6/1 kV | 25-50 mm $^2$ | Resin | 2
Jointing Resin Scotchcast for multicore cable | 92-A4 | Indoor, Outdoor, Tanam Langsung (Direct Bury) | Multi Core | 0.6/1 kV | 50-95 mm $^2$ | Resin | 2
3M Cold Shrink Termination QT-II (Hybrid 1 Core) | QT-II (K) 8S-13 | Indoor, Outdoor | Single Core | 35 kV | 50-95 mm $^2$ | Cold Shrink | 2
3M High Voltage Cable Joint (Crossbond) | SC 170-300 | Tanam Langsung (Direct Bury) | Single Core | 150 kV | 300 mm $^2$ | Pre-moulded Resin | 2

## Source References
Index | Reference
1 | 3M EMD-Cold-Shrink-QT-III-BR-8007270.pdf
2 | 3M_EMD-New-Catalog-2018.pdf
3 | 3M Splicing kit.pdf
4 | 3M_Cold Shrink QS-III_Splicing Kit.pdf